751-1120-30 High School 6ft Offset Goal Post

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein. Athletic equipment shall include, but not be limited to:

1.  751-1120 High School 6ft Offset Goal Post, 30’ Upright (Pair)

2.  751-1000 Access Frame Kit (optional)

3.  751-67 or 751-68 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2		FOOTBALL GOAL POSTS

A. 		751-1120 High School 6ft Offset Goal Post

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 6.296 ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Width: 23’4”

- Steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 30.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground Plate: 20” x 20” x ½” Steel

- Anchor Bolts

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3.1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION

751-6120-0 High School 9ft Offset Goal Post, with 30’ Uprights

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein.  Athletic equipment shall include, but not be limited to:

1.  751-6120-30 High School ft Offset Goal Post, with 30’ Uprights (Pair)

2.  751-1000 Access Frame Kit (optional)

3.  751-66 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2 		FOOTBALL GOAL POSTS

A. 		751-6120 Adjustable Width 9’ Offset Football Goal Post

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 9.0ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Width: 23’4”

- Stainless steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 30.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground Plate: 20” x 20” x ½” Steel

- Anchor Bolts

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3.1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION

751-6120 High School 9ft Offset Goal Post

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein.  Athletic equipment shall include, but not be limited to:

1.  751-6120 High School ft Offset Goal Post (Pair)

2.  751-1000 Access Frame Kit (optional)

3.  751-66 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2 		FOOTBALL GOAL POSTS

A. 		751-6120 Adjustable Width 9’ Offset Football Goal Post

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 9.0ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Width: 23’4”

- Stainless steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 20.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground Plate: 20” x 20” x ½” Steel

- Anchor Bolts

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3.1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION

751-6140 High School 9ft Offset Goal Post with Ground Sleeve

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein.  Athletic equipment shall include, but not be limited to:

1.  751-6140 High School 9ft Offset Goal Post (Pair) with Ground Sleeve

2.  751-1000 Access Frame Kit (optional)

3.  751-67 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2 		FOOTBALL GOAL POSTS

A.	751-6140 High School 8ft Offset Goal Post with Ground Sleeve

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 9.0ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Length: 23’4”

- Stainless steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 20.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground sleeve: Schedule 40 Steel Pipe, 5.0ft long

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic turf/surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3. 1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION

751-6140-30 High School 8ft Offset Goal Post with Ground Sleeve

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein.  Athletic equipment shall include, but not be limited to:

1.  751-6140-30 High School 8ft Offset Goal Post (Pair) with Ground Sleeve

2.  751-1000 Access Frame Kit (optional)

3.  751-67 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2 		FOOTBALL GOAL POSTS

A.	751-6140 High School 8ft Offset Goal Post with Ground Sleeve

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 9.0ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Width: 23’4”

- Stainless steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 30.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground sleeve: Schedule 40 Steel Pipe, 5.0ft long

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic turf/surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3. 1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION

751-1120 High School 6ft Offset Goal Post

SECTION 11 68 33.13	Football Field Equipment

PART 1	GENERAL

1.1		WORK INCLUDED

A.		Provide all equipment and materials, and do all work necessary to furnish

and install the athletic equipment, as indicated on the drawings and as

specified herein. Athletic equipment shall include, but not be limited to:

1.  751-1120 High School 6ft Offset Goal Post (Pair)

2.  751-1000 Access Frame Kit (optional)

3.  751-67 or 751-68 Goal Post Pads (optional)

1.2		RELATED WORK

A.		Examine contract documents for requirements that affect work of this

section.  Other specification sections that directly relate to the work of

this section include, but are not limited to:

1.  Section 02200 – Earthwork; Excavation and Backfill and

establishment of sub-grade elevations.

2.  Section 02700 – Asphalt, Concrete, and Pavement

3.  Section 02794 – Synthetic Grass & Turf

4.  Section 02793 – Synthetic Field Surfacing

5.  Section 03110 – Cast-in-Place Concrete

1.3		REFERENCES

A.		Comply with applicable requirements of the following standards.  Where

these standards conflict with other specified requirements, the most

restrictive requirements shall govern.

1.  National Federation of High Schools (NFHS)

2.  American Sports Builders Association (ASBA)				3.  Manufacturers Data and Recommended Installation

Requirements

1.4		SUBMITTALS

A.		Manufacturers Product Data

1.  Provide manufacturers product data prior to actual field

installation work, for Architects or Owners representatives

review.

B.		Shop Drawings

1.  Provide drawings of the manufacturers recommended

installation and foundation requirements prior to actual field

installation work, for Architects or Owners representatives

review.

1.5		QUALITY ASSURANCE

A.		Manufacturers warranties shall pass to the Owner and certification made

that the product materials meet all applicable grade trademarks or conform 		to industry standards and inspection requirements.

B. 	Single Source Responsibility: Provide equipment from single manufacturer

C.	Manufacturer’s Qualifications: Minimum of 7 consecutive years experience manufacturing items similar to that specified.

1.6		PRODUCT DELIVERY AND STORAGE

A.		Materials delivered to the site shall be examined for damage or defects in 			shipping.  Any defects shall be noted and reported to the Owners 				representative.  Replacements, if necessary, shall be immediately re-			ordered, so as to minimize any conflict with the construction schedule.  			Sound materials shall be stored above ground under protective cover or 			indoors so as to provide proper protection.

1.7 		WARRANTY

A.	Provide 3-year warranty against defects in materials and workmanship, unless otherwise specified

PART 2	PRODUCTS

2. 1		MANUFACTURERS

A. 	Acceptable Manufacturer: UCS, Inc. 511 Hoffman Road, Lincolnton, NC 28092, phone 800-526-4856, fax 704-732-9559, web address: www.ucsspirit.com

B. 	            Substitutions: Not Permitted

2.2		FOOTBALL GOAL POSTS

A. 		751-1120 High School 6ft Offset Goal Post

1. Gooseneck support:  6 5/8” schedule 40 Aluminum, 6.296 ft offset.

2. Crossbar:  6 5/8” schedule 40 Aluminum and Steel Reinforcement Insert

- Width: 23’4”

- Steel internal membrane support plate

- Fully welded end caps

- Fully welded rigid upright support structure

3. Uprights: 3 ½” schedule 40 Aluminum pipe

- Length: 20.0ft

- Welded top cap with flag anchors

4.  Powder Coat Finish: Yellow or White

5.  Installation package consisting of the following components:

- Ground Plate: 20” x 20” x ½” Steel

- Anchor Bolts

- Directional wind flags.

- Safety Cover : Marine Plywood ready to accept synthetic surface

6.  Accessories:

- Stainless Steel Fasteners

# PART 3 	EXECUTION

3.1		INSTALLATION OF EQUIPMENT

A.  		All athletic equipment shall be installed as recommended with 				manufacturer's written directions, and as indicated on the drawings.

END OF SECTION